## Slide 1: Fine Particle characterization
Dr. Swambabu varanasi

## Slide 2: Sieve analysis
Lowest mesh screen – 200 mesh size – 75 micron
S.NO | Particle size (mm) | M*10^-1 (kg)
0 | 0.063 | 
1 | 0.09 | 0.1
2 | 0.125 | 0.27
3 | 0.18 | 1.03
4 | 0.25 | 2.2
5 | 0.355 | 5.4
6 | 0.5 | 9.3
7 | 0.71 | 13.7
8 | 1 | 17
9 | 1.4 | 17
10 | 2 | 14.6
11 | 2.8 | 9.9
12 | 4 | 5.6
13 | 5.6 | 2.4
14 | 8 | 1.1
15 | 11.2 | 0.3
16 | 16 | 0.1

## Slide 3: Distribution function
Arithmetic normal distribution
Log normal distribution
R3osin – Rammler – Bennet- Sperling formula
Other distribution formulas

## Slide 4: Microscopic Techniques
Light microscope, Electron microscopes – nanoscale - (scanning electron microscope and Transmission electron microscope)
Optical microscope – theoretically 0.18 to 150 microns can be measured. but actually 3 to 15o microns
Theoretical limit of resolution
f = factor = 0.6
λ = wave length
NA = numerical aperture = μ sin(ϴ)
μ = refractive index
Continuous particle size analyser:

## Slide 5: Image analysers

## Slide 6: Laser diffraction
HeNe laser with incident wavelength 638.2 nm
Rayleigh scattering
Mie Scattering
https://www.youtube.com/watch?v=kll3kg9yXDw

## Slide 7: Laser diffraction
Cuvettes

## Slide 8: Dynamic light scattering (DLS)
DT = Diffusion coefficient
n = refractive index
λ = wave length
ϴ = scatter angle
Einstein – Stokes law
Hydrodynamic diameter
kB = Boltzmann's constant T = temperature ὴ = viscosity

## Slide 9: DLS